## Sheet3
Name | DisplayName
_11_Auto_Manual, _12_Auto_Manual, Auto_Manual, Switch_Auto | Auto_Manual_Switch
_12_Eco, _13_Eco, Eco | Eco
_13_Float_Switch, Float_Switch | Float_Switch
_14_Borhole_Float_Switch, _24_Borhole_Float_Switch, Borhole_Float_Switch, BorholeFloatSwitch, Borehole_lvl | Borehole_Float_Switch
_15_Grid_is_On, _27_Grid_is_ON, Grid_is_ON, Grid_is_On, GridisON | Grid_Switch
_16_Alarm_Well_Water | Borehole_empty
_16_Comp_Run, Comp_Run | Comp_Run
_17_Evap_Run, Evap_Run | Evap_Run
_18_Alarm_Inverter, _19_Alarm_Temperature_Inverter, Alarm_Inverter, Alarm_Temperature_Inverter | Alarm_Temp_Inverter
_18_Pump_Run, Pump_Run | Pump_Run
_20_Alarm_UV_Lamp, Alarm_UV_Lamp | Alarm_UV_Lamp
_20_Fan_1_Alarm, _32_Alarm_Fan_1, Alarm_Fan_1, Fan_1_Alarm, _21_Fan_2_Alarm, Alarm_Fan_2, Fan_2_Alarm, _33_Alarm_Fan_2 | Alarm_Fan_1
_21_Alarm_6_Water_Meter, Alarm_6_Water_Meter | Alarm_Watermeter
_22_Evap_Motor_Alarm,_34_Alarm_Evap,_41_Alarm_Evap_Rotation, Alarm_Evap, Alarm_Evap_Rotation, Evap_Motor_Alarm | Alarm_Evap_Motor
_23_Comp_Alarm, _35_Alarm_Comp, Alarm_Comp, Comp_Alarm | Alarm_Comp
_25_Tank_High_Level, Tank_High_Level, _26_Tank_Low_Level, Tank_Low_Level | Tank_High_Level
_28_Alarm_Lid, Alarm_Lid, _12_Lid_Alarm | Alarm_Lid
_29_Alarm_Inlet_Valve_Water, Alarm_Inlet_Valve_Water | Alarm_Inlet_Valve
_30_Alarm_Drain_Valve, Alarm_Drain_Valve | Alarm_Drain_Valve
_31_Alarm_DPS, Alarm_DPSe | Alarm_DPS
_36_Alarm_Inverter_A, _42_Alarm_Inverter_1_Over_Temperature, Alarm_Inverter_1_Over_Temperature; AlarmBohrholeInverterTemperature | Alarm_Temp_Inverter1
_39_Alarm_Tank | Alarm_Tank
_50_Solar_Power, _62_Solar_Power_KWh_Total, _73_Solar_Power_KWh_Total, Solar_Power | Solar_Power
_51_Grid_Power, Grid_Power | Grid_Power
_52_Total_Power, _70_Output_Power_KWh_Total, _81_Output_Power_KWh_Total, Output_Power_KWh_Total, Total_Power | Total_Power
_53_Evap_Power, Evap_Power | Evap_Power
_53_Pump_Power, Pump_Power | Pump_Power
_54_Comp_Power, Comp_Power | Comp_Power
_54_Machine_Capacity, _56_Machine_Capacity, Machine_Capacity, MachineCapacity | Machine_Capacity
_55_Machine_Grid_Percentage, _57_Machine_Grid_Percentage, Machine_Grid_Percentage, MachineGridPercentage | Machine_Grid_Percentage
_55_Pump_Power | Borehole_Pump_Power
_56_Machine_Solar_Percentage, _58_Machine_Solar_Percentage, Machine_Solar_Percentage, MachineSolarPercentage | Machine_Solar_Percentage
_59_DC_Voltage, DC_Voltage | DC_Voltage
_60_Total_Current, system_current, Total_Current | Total_Current
_61_DC_Voltage_Evap, DC_Voltage_Evap | DC_Voltage_Evap
_61_Pump_Current, Current_Inverter_Pump, _72_Current_Inverter_Pump | Borehole_Pump_Current
_62_DC_Voltage_Comp, DC_Voltage_Comp | DC_Voltage_Comp
_63_DC_Voltage_Pump, DC_Voltage_Pump | DC_Voltage_Borehole_Pump
_63_Solar_Power_KWh_This_Hour, _74_Solar_Power_KWh_This_Hour, Solar_Power_KWh_This_Hour | Solar_Power_KWh_This_Hour
_64_Solar_Power_KWh_Today, _75_Solar_Power_KWh_Today, Solar_Power_KWh_Today | Solar_Power_KWh_Today
_64_Temperature_Inverter_Evap | Temp_Evap
_65_Solar_Power_KWh_This_Month, _76_Solar_Power_KWh_This_Month, Solar_Power_KWh_This_Month | Solar_Power_KWh_This_Month
_65_Temperature_Inverte_Comp | Temp_Comp
_66_Grid_Power_KWh_Total, _77_Grid_Power_KWh_Total, Grid_Power_KWh_Total | Grid_Power_Total
_67_Frequency_Inverter_Evap | Frequency_Evap
_67_Grid_Power_KWh_This_Hour, _78_Grid_Power_KWh_This_Hour, Grid_Power_KWh_This_Hour | Grid_Power_KWh_This_Hour
_68_Frequency_Inverter_Comp | Frequency_Comp
_68_Grid_Power_KWh_Today, _79_Grid_Power_KWh_Today, Grid_Power_KWh_Today | Grid_Power_KWh_This_Today
_69_Frequency_Inverter_Pump, freq_drv1, Frequency_Drv, Frequency_Inverter_Pump, FrequencyInverterPump, Frequenz_Inv1 | Frequency_Drv1
_69_Grid_Power_KWh_This_Month, _80_Grid_Power_KWh_This_Month, Grid_Power_KWh_This_Month | Grid_Power_KWh_This_Month
_70_Current_Inverter_Evap, Current_Inverter_Evap, Frequency_Inverter_Evap | Current_Evap
_71_Current_Inverter_Comp, Current_Inverter_Comp, Frequency_Inverter_Comp | Current_Comp
_71_Output_Power_KWh_This_Hour, _82_Output_Power_KWh_This_Hour, Output_Power_KWh_This_Hour | Total_Power_KWh_This_Hour
_72_Output_Power_KWh_Today, _83_Output_Power_KWh_Today, Output_Power_KWh_Today | Total_Power_KWh_This_Today
_73_Output_Power_KWh_This_Month, _84_Output_Power_KWh_This_Month, Output_Power_KWh_This_Month | Total_Power_KWh_This_Month
_78_Total_Run_Time, Total_Run_Time | Total_Run_Time
_79_UV_Lamp_Run_Time | UV_workhours
_80_Water_M3_Total | Water_Total
_81_Water_M3_This_Hour | Water_This_Hour
_82_Water_M3_Today | Water_Today
_83_Water_M3_Per_This_Month | Water_This_Month
Alarm_High_Pressure, Pressurre_Alarm, _15_Pressurre_Alarm, _17_Alarm_High_Pressure, AlarmHighPressure | Alarm_Pressure
Alarm_Inverter_A, AlarmFeedInverterStatus | Alarm_Inverter1
Alarm_Inverter_B, AlarmBoosterInverterStatus | Alarm_Inverter2
Alarm_Inverter_C, AlarmBohrholeInverterStatus | Alarm_Inverter3
Alarm_Well_Level, Alarm_Well_Water, AlarmWellLevel, _40_Alarm_Well_Level | Alarm_Borehole_empty
AlarmAntiScalant, Anti_Tank, Anti_Tankk, Anti_Tankkk, AntiScalantTank, AntiTank, AntiTank_empty, AntiTankkk | Alarm_AntiScalant_Tank
AlarmBoosterInverterTemperature, _38_Alarm_Inverter_C, _44_Alarm_Inverter_3_Over_Temperature | Alarm_Temp_Inverter2
AlarmFeedInverterTemperature, _37_Alarm_Inverter_B, _43_Alarm_Inverter_2_Over_Temperature, Alarm_Inverter_2_Over_Temperature | Alarm_Temp_Inverter1
AlarmFlowMeter | Alarm_Flowmeter
AlarmHighTDS | Alarm_TDS
AlarmRaw_Tank_Alarm | Alarm_Raw_Tank
AlarmUnstableVoltage | Alarm_Unstable_Volt
AlarmUVInLamp | Alarm_UVIn_Lamp
AlarmUVOutLamp | Alarm_UVOut_Lamp
AlarmValve1 | Alarm_Valve1
AlarmValve2 | Alarm_Valve2
AlarmValve3 | Alarm_Valve3
AlarmValve4 | Alarm_Valve4
AlarmValve5 | Alarm_Valve5
Anti_pump | Alarm_Anti_Pump
BackwashSwitch | Backwash_Switch
BoosterPower | Total_Power_Booster
CIP_tankempty, CIPtank_empty | CIP_Tank_Empty
CIP_tankfull, CIPtankHigh, CIPtank_full, CIPtankLow | CIP_Tank_Full
CIPSwitch, Switch_CIP | CIP_Switch
Ctrl_Uvin, UVin2_ctrl, UVin_ctrl, UVin_ctrll | UV_In_Ctrl
ctrl_UVout, UV_outside_switching_operations, UVout2_ctrl, UVout_ctrl, UVout_ctrll | UV_Out_Ctrl
CurrentInverterBooster | Current_Booster_Pump
CurrentInverterFeed | Current_Feed_Pump
Datum_Backwash_Done, Last_Backwash | Date_Backwash_Done
Datum_CIP_Done | Date_CIP_Done
DCVoltageBooster | DC_Voltage_Booster
DCVoltageFeed | DC_Voltage_Feed
DCVoltagePump | DC_Voltage_Borehole
Dosing_Pump_Alarm | Alarm_Dosing_Pump
DriveError_Drv1 | DriveError_Drv1
DriveError_Drv2 | DriveError_Drv2
DriveError_Drv3 | DriveError_Drv3
ec_value, _14_Conductivity_Switch, Conductivity_Switch, EC_Value, Leitfaehigkeit | EC_Value
Feed_Kwh | Feed_Kwh
Feed_TotalRUN | Booster_Pump_Total_Run
FeedPower | Total_Power_Feed
freq_drv2, Frequency_Drv2, FrequencyInverterFeed, Frequenz_Inv2, | Frequency_Drv2
freq_drv3, Frequency_Drv3, FrequencyInverterBooster, Frequenz_Inv3, | Frequency_Drv3
Frequenz_Inv4 | Frequency_Drv4
IceMachine_Run, _19_IceMachine_Run | IceMachine_On
Machine_Mode_Backwash | Machine_Mode_Backwash
Machine_Mode_Bohrhole | Machine_Mode_Borehole
Machine_Mode_CIP | Machine_Mode_CIP
Machine_Mode_Filling | Machine_Mode_Filling
Machine_Mode_Flush | Machine_Mode_Flush
Machine_Mode_Pro | Machine_Mode_Pro
MachineRun | Machine_Run
mains_on, _11_Start, Mains_ON, Mains_OON | Main_ON
Permeat, PremeateWaterM3Total, Totalwater_Clean, Water_produced, WaterTotal_pro | Water_Total_Clean
Permtank_toplvl | Tank_Water_Clean_High_Level
Ph_Alarm | Alarm_Ph
Ph_Tank1 | Ph_Tank1
Ph_Tank2 | Ph_Tank2
PremeateTank | Permeate_Tank_has_water
PremeateWaterM3ThisHour | Water_This_Hour_Clean
PremeateWaterM3ThisMonth | Water_This_Month_Clean
PremeateWaterM3Today, Water_Today_prod, WaterToday_Clean, WaterToday_pro, WaterToday_prod, Water_M3_Today | Water_Today_Clean
pressure, _57_Actual_Pressure, Actual_Pressure, Pressure, Systemdruck | Pressure
Pump_Current | Pump_Current
Rawtank_lowlvl, RawWaterTankLow | Tank_Raw_Low_Level
Rawtank_toplvl, RawWaterTankHigh | Tank_Raw_High_Level
RawWaterM3ThisHour | Water_This_Hour_Raw
RawWaterM3ThisMonth | Water_This_Month_Raw
RawWaterM3Today, Water_Today_in, WaterToday_in, WaterToday_Raw | Water_Today_Raw
RawWaterM3Total, TotalWater_Raw, Wasser_eingang, Wassereingang, Water_in, WaterTotal_in | Water_Total_Raw
SC_ctrl1 | SCBW_1st_Ctrl
SC_ctrl2 | SCBW_2nd_Ctrl
SC_Sw | SCBW_Switch
SCBW1_ok | SCBW_1st_Done
SCBW2_ok | SCBW_2nd_Done
Solar_Power_KWh_Total | Solar_Power_KWh_Total
Switch_P1, BohrholeSwitch | Borehole_Pump_Switch
Switch_P2, FeedSwitch | Feed_Pump_Switch
Switch_P3, BoosterSwitch | Booster_Pump_Switch
Switch_P4 | Elevating_Pump_Switch
temp_drv1, _60_Inverter_Temperature, _66_Temperature_Inverter_Pump, Inverter_Temperature, Temp_Drv1 | Temp_Drv1
temp_drv2, Temp_Drv2 | Temp_Drv2
temp_drv3, Temp_Drv3 | Temp_Drv3
Temperature_Inverter_Comp | Temp_Inverter_Comp
Temperature_Inverter_Evap | Temp_Inverter_Evap
Temperature_Inverter_Pump, TemperatureInverterPump | Temp_Inverter_Pump
TemperatureInverterBooster | Temp_Inverter_Booster
TemperatureInverterFeed | Temp_Inverter_Feed
totalwater_in | TotalWater_Raw
totalwater_pro | Totalwater_Clean
TotalWater_Recovery, WaterTotal_recovery | Water_Total_Recovery
TotalWater_Sold, Verkauftes_Wasser, Wasser_verkauft, Water_sold, WaterTotal_sold | Water_Total_Sold
UV_inside_lifetime, UVin_lifetime | UV_In_Lifetime
UV_inside_switching_operations, UVin_switching, uvi_switching | UV_In_Switch
UV_Lamp_Run_Time | UV_Lamp_Run_Time
UV_outside_lifetime, UVout_lifetime | UV_Out_Lifetime
UVin_Betriebsstunden, UVin_workhours, uvin_workhours | UV_In_Workhours
UVo_switching, uvo_switching, UvOutSwitch | UV_Out_Switch
UVo_Watersensor | UV_Out_Water_Sensor
UVo_workhours, uvo_workhours | UV_Out_Workhours
Valves_bw | Valves_Position_BW
valves_cip | Valves_CIP
Valves_CIP, Valves_Position_cip | Valves_Position_CIP
valves_filling | Valves_Filling
Valves_Filling, Valves_Position_fillingcip | Valves_Position_Filling
valves_flush | Valves_Flush
Valves_Flush, Valves_Position_flush | Valves_Position_Flush
Valves_Position_pro, Valves_Pro, valves_pro | Valves_Position_Pro
voltage_drv1, Voltage_Drv1 | Voltage_Drv1
voltage_drv2, Voltage_Drv2 | Voltage_Drv2
voltage_drv3, Voltage_Drv3 | Voltage_Drv3
Voltage_Drv4 | Voltage_Drv4
Wasser_permeat, Water_M3_Total, | Water_Total_Pro
Water_M3_Per_This_Month, Water_M3_This_Month | Water_This_Month_Pro
Water_M3_This_Hour | Water_This_Hour_Pro
Water_Today_sold, WaterToday_sold | Water_Today_Sold
Waterflowing | Water_flowing
WaterToday_recov, WaterToday_Recovery | Water_Today_Recovery